## Slide 1: ELECTRONICS 101
Multimeter

## Slide 2: What is a Multimeter?
A measuring device that allows you to measure different parts of electricity and different components
  Voltage, current, frequency, and temperature are the parts of electricity
  Resistance, capacitance, and inductance are different components
Comes in either auto or manual range

## Slide 3: Manual Range Vs. Auto Range
Manual range multimeter allows you to adjust the range of the measurements manually
  ex. if you are measuring the voltage of wall outlet, make sure you adjust it to 100v setting
Auto range multimeter allows you to measure while the multimeter automatically adjust the measurement range
  ex. if you are measuring the voltage of a wall outlet make sure you adjust the multimeter to AC voltage setting

## Slide 4: Different types of -Meters in Multimeters
Volts - Voltmeter
Amps - Ammeter
Ohms - Ohmmeter

## Slide 5: How do you use a Multimeter?
Depends on whether you are measuring voltage, current, and resistance
Adjust the multimeter accordingly
  voltage
    put any positive lead at any point in the circuit and put the negative lead to ground
  current
    put positive lead on one end of the component/wire and the negative lead to another end of another component/wire
  resistance
    take a resistor and put positive lead on one end and the negative lead on the other end